|  | DPG Institute of Technology and Management ###### Sector 34, Gurugram HR 122004 |
| --- | --- |
|  | Lesson Plan |
|  | Course Name: Measurement and Instrumentation |
|  | Faculty Name: Satish Chandra |

| No. of Lecture Hours/Week | 3 | Exam Hours | 3 |
| --- | --- | --- | --- |
| Total No. of Lecture Hours | 34 | Exam Marks | 75 |
| Course Code: | PCC-EE-215G |  |  |

Course Objectives:

- To understand the principles of measurement, standards, errors, and static characteristics of instruments.

- To study the construction, working, and applications of various electrical and electronic measuring instruments.

- To comprehend the working principles and performance of wattmeters, energy meters, power factor meters, and frequency meters.

- To analyze and apply methods for accurate measurement of resistance and for balancing A.C. bridges in electrical systems.

| Lecture No | Topics to be covered | Teaching Methodology / Pedagogy | Activity | Remarks |
| --- | --- | --- | --- | --- |
| SECTION A(Unit-1)( C204.1) |  |  |  |  |
| 1 | S.I. units and absolute standards – International, Primary, Secondary & Working standards; True value and types of errors (Gross, Systematic, Random). | Chalk &Talk |  |  |
| 2 | Static characteristics of instruments – Accuracy, Precision, Sensitivity, Resolution & Threshold. | Chalk &Talk |  |  |
| 3 | Generalized instrument – Block diagram and three forces in electromechanical indicating instruments. | Chalk &Talk |  |  |
| 4 | Gravity and spring controls – comparison and applications. | Chalk &Talk |  |  |
| 5 | Damping methods – types, comparison and suitability; bearing supports and pivot-less supports. | Chalk &Talk |  |  |
| 6 | Taut-band supports, scale information and instrument cases. | Chalk &Talk |  |  |
| 7 | Block diagram and stages of CRO – vertical, horizontal and time base systems. | Chalk &Talk |  |  |
| 8 | Block diagram and working of function generator. | Chalk &Talk |  |  |
| 9 | Transducers – classification and types (R, L, C); basic schemes for measurement of displacement and velocity. | Chalk &Talk |  |  |
| 10 | Basic schemes for measurement of strain, pressure, liquid level and temperature. | Chalk &Talk |  |  |
| SECTION B(Unit-2)( C204.2) |  |  |  |  |
| 11 | Classification of instruments – Absolute & Secondary; Indicating, Recording & Integrating instruments. | Chalk &Talk |  |  |
| 12 | Instruments based on principle of operation and measurement purpose. | Chalk &Talk |  |  |
| 13 | PMMC type measuring instruments – construction, working and applications. | Chalk &Talk |  |  |
| 14 | Electrodynamic and Moving Iron type instruments – working on AC & DC. | Chalk &Talk |  |  |
| 15 | Induction type instruments – ammeter and voltmeter. | Chalk &Talk |  |  |
| 16 | Hot wire and Electrostatic type instruments – principle, construction and performance. | Chalk &Talk |  |  |
| 17 | Multimeter and Q-meter – construction, working and applications. | Chalk &Talk |  |  |
| SECTION (Unit-3)( C204.3) |  |  |  |  |
| 18 | Electrodynamic type wattmeter – construction, operating principle and torque equation. | Chalk &Talk |  |  |
| 19 | Shape of scale, errors, advantages and disadvantages of electrodynamic wattmeter. | Chalk &Talk |  |  |
| 20 | Induction type wattmeter – construction, working, torque equation and comparison. | Chalk &Talk |  |  |
| 21 | Single-phase induction type energy meter – construction, principle and operation. | Chalk &Talk |  |  |
| 22 | Errors, compensation and creep in energy meter. | Chalk &Talk |  |  |
| 23 | Power factor meters – electrodynamic and moving iron types; principle and construction. | Chalk &Talk |  |  |
| 24 | Frequency meters – resonance, ferrodynamic and electrodynamic types; operation and torque equation. | Chalk &Talk |  |  |
| SECTION D(Unit-4)( C204.4) |  |  |  |  |
| 25 | Limitations of Wheatstone bridge; Kelvin’s double bridge for low resistance measurement. | Chalk &Talk |  |  |
| 26 | Difficulties in high resistance measurements; direct deflection and loss of charge methods. | Chalk &Talk |  |  |
| 27 | Megohm bridge and Megger – principle, construction and applications. | Chalk &Talk |  |  |
| 28 | General balance equation of A.C. bridges; bridge components and phasor representation. | Chalk &Talk |  |  |
| 29 | Maxwell’s Inductance Bridge – circuit, phasor diagram, advantages and disadvantages. | Chalk &Talk |  |  |
| 30 | Maxwell’s Inductance–Capacitance Bridge and Hays Bridge – construction and comparison. | Chalk &Talk |  |  |
| 31 | Anderson Bridge and Owen’s Bridge – working and applications. | Chalk &Talk |  |  |
| 32 | De-Sauty’s Bridge and Schering Bridge – construction, principle and uses. | Chalk &Talk |  |  |
| 33 | Wein’s Bridge – frequency measurement and applications. | Chalk &Talk |  |  |
| 34 | Shielding and earthing techniques in A.C. bridge measurements. | Chalk &Talk |  |  |

Suggested Text / Reference Books

TEXT BOOK:

1. A course in Electrical & Electronics Measurements & Instrumentation: A.K.Sawhney; Dhanpat Rai

2. Measurements & Instrumentation by J.S. Saini; New Age Pub., N. Delhi

REFERENCE BOOKS: 1. Electrical Measurments by E.W. Golding

2. Electronic & Elect. Measurment & Instrumention by J.B.Gupta; Kataria & Sons.

3. Electronic Instrumentation & Measurment Technique, W.D.Cooper & A.D. Helfrick.

4. Measuring Systems by E.O. Doeblin; TMH.

5. Morris - Electronic Measurements & Instrumentation, Elsevier

Course Outcomes:

At the end of the course, the student will be able:

| C204.1 | Learn about various measurement instruments for measurement of Voltage, Current, Power, Power Factor & Frequency, their construction, operating principle, limitations, etc.; |
| --- | --- |
| C204.2 | Understand the working of energy meters and wattmeter |
| C204.3 | Analyse the static characteristics of instruments |
| C204.4 | Understand the measurement of parameters & variables with the help of D.C. & A.C. bridges |

CO-PO-PSO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 | PSO3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C204.1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 1 | 1 | 2 | 2 | 2 | 1 | 2 |
| C204.2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 2 | 2 | 1 | 2 | 1 | 2 | 1 |
| C204.3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | - | 1 | 2 | 1 | 1 | 2 | 1 | 2 |
| C204.4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 2 | 1 | 2 | 2 | 2 | 2 | 2 |

| Signature of Staff In-charge | Signature of HOD |
| --- | --- |