|  | DPG Institute of Technology and Management ###### Sector 34, Gurugram HR 122004 |
| --- | --- |
|  | Lesson Plan |
|  | Course Name: High Voltage Engineering |
|  | Faculty Name: Satish Chandra |

| No. of Lecture Hours/Week | 3 | Exam Hours | 3 |
| --- | --- | --- | --- |
| Total No. of Lecture Hours | 34 | Exam Marks | 75 |
| Course Code: | PEC-EE-07G |  |  |

Course Objectives: To impart knowledge on the following Topics:

- Various types of over voltages in power system and protection methods.

- Generation of over voltages in laboratories.

- Measurement of over voltages.

- Nature of Breakdown mechanism in solid, liquid and gaseous dielectrics.

- Testing of power apparatus and insulation coordination

| Lecture No | Topics to be covered | Teaching Methodology / Pedagogy | Activity | Remarks |
| --- | --- | --- | --- | --- |
| SECTION A(Unit-1)( C305.4.1) |  |  |  |  |
| 1 | Collision and ionization processes in gases. | Chalk &Talk |  |  |
| 2 | Townsend’s current growth equation – primary ionization process. | Chalk &Talk |  |  |
| 3 | Secondary ionization processes and Townsend’s criterion for breakdown. | Chalk &Talk |  |  |
| 4 | Experimental determination of α and γ; breakdown in electronegative gases. | Chalk &Talk |  |  |
| 5 | Time lags for breakdown and streamer theory of breakdown in gases. | Chalk &Talk |  |  |
| 6 | Paschen’s Law and breakdown in non-uniform fields. | Chalk &Talk |  |  |
| 7 | Corona discharges – mechanism and characteristics. | Chalk &Talk |  |  |
| 8 | Liquids as insulators – pure and commercial liquids. | Chalk &Talk |  |  |
| 9 | Conduction and breakdown mechanisms in pure and commercial liquids. | Chalk &Talk |  |  |
| 10 | Breakdown in solid dielectrics – intrinsic, electromechanical and thermal breakdown. | Chalk &Talk |  |  |
| SECTION B(Unit-2)( C305.4.2) |  |  |  |  |
| 11 | Generation of high DC voltages – principles, circuits and applications. | Chalk &Talk |  |  |
| 12 | Generation of high AC voltages – cascade transformers and resonant circuits. | Chalk &Talk |  |  |
| 13 | Generation of impulse voltages – Marx generator and wave shaping. | Chalk &Talk |  |  |
| 14 | Generation of impulse currents – circuits, tripping and control of impulse generators. | Chalk &Talk |  |  |
| 15 | Measurement of high DC voltages – resistive and capacitive potential dividers. | Chalk &Talk |  |  |
| 16 | Measurement of high AC and impulse voltages – sphere gap and potential divider methods. | Chalk &Talk |  |  |
| 17 | Measurement of high currents – direct, alternating and impulse current methods. | Chalk &Talk |  |  |
| 18 | Use of Cathode Ray Oscillograph (CRO) for impulse voltage and current measurement. | Chalk &Talk |  |  |
| 19 | Calibration techniques for high voltage measuring systems. | Chalk &Talk |  |  |
| 20 | Safety precautions and insulation requirements in high voltage laboratories. | Chalk &Talk |  |  |
| SECTION (Unit-3)( C305.4.3) |  |  |  |  |
| 21 | Natural causes of overvoltages – lightning phenomenon. | Chalk &Talk |  |  |
| 22 | Overvoltages due to switching surges, system faults and other abnormalities. | Chalk &Talk |  |  |
| 23 | Principles of insulation coordination in HV and EHV power systems. | Chalk &Talk |  |  |
| 24 | Non-destructive testing – purpose and general methods. | Chalk &Talk |  |  |
| 25 | Measurement of dielectric constant and loss factor. | Chalk &Talk |  |  |
| 26 | Partial discharge measurement techniques and interpretation. | Chalk &Talk |  |  |
| SECTION D(Unit-4)( C305.4.4) |  |  |  |  |
| 27 | Testing of insulators and bushings – power frequency and impulse tests. | Chalk &Talk |  |  |
| 28 | Testing of isolators and circuit breakers – overvoltage withstand tests. | Chalk &Talk |  |  |
| 29 | Testing of cables – withstand and breakdown tests. | Chalk &Talk |  |  |
| 30 | Testing of transformers – induced and applied voltage tests. | Chalk &Talk |  |  |
| 31 | Testing of surge arresters – characteristics and performance evaluation. | Chalk &Talk |  |  |
| 32 | Radio interference measurements – causes and test procedures. | Chalk &Talk |  |  |
| 33 | Testing of HVDC valves and equipment. | Chalk &Talk |  |  |
| 34 | Review and integration of all high-voltage testing methods. | Chalk &Talk |  |  |

Suggested Text / Reference Books

Text Books:

- High Voltage Engineering M.S. Naidu, V.Kamaraju McGraw Hill ‘Latest Eddition’

- High Voltage Engineering Wadhwa C.L. New Age International ‘Latest Eddition’

Reference Books

- High Voltage Engineering Fundamentals E. Kuffel, W.S. Zaengl, J. Kuffel Newnes ‘Latest Eddition’

- High-Voltage Test and Measuring Techniques Wolfgang Hauschild • Eberhard Lemke Springer ‘Latest Eddition’

- High Voltage Engineering Farouk A.M. Rizk CRC Press ‘Latest Eddition’

Course Outcomes:

At the end of the course, the student will be able:

| C305.4.1 | Explain conduction and breakdown phenomenon in gases, liquid and solid dielectrics. |
| --- | --- |
| C305.4.2 | Explain generation of high voltages and currents and analyse their measurement techniques |
| C305.4.3 | Discuss overvoltage phenomenon and insulation coordination in electric power systems. |
| C305.4.4 | Perform non-destructive testing of materials and electric apparatus and high-voltage testing of electric apparatus |

CO-PO-PSO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 | PSO3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C305.4.1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 1 | 1 | 2 | 2 | 2 | 1 | 2 |
| C305.4.2 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | - | 2 | 2 | 1 | 2 | 1 | 2 | 1 |
| C305.4.3 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | - | 1 | 2 | 1 | 1 | 2 | 1 | 2 |
| C305.4.4 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | - | 2 | 1 | 2 | 2 | 2 | 2 | 2 |

| Signature of Staff In-charge | Signature of HOD |
| --- | --- |