| No. of Lecture Hours/Week | 3 | Exam Hours | 3 |
| --- | --- | --- | --- |
| Total No. of Lecture Hours | 32 | Exam Marks | 75 |
| Course Code: | PCC-EE-301G |  |  |

Course Objectives:

At the end of this course, students will demonstrate the ability to;

- Understand the various power system components.

- Evaluate fault currents for different types of faults.

- Understand basic protection schemes and circuit breakers.

- Understand concepts of HVDC power transmission and renewable energy generation.

| Lecture No. | Topics to be Covered | Teaching Methodology/Pedagogy | Activity | Remarks |
| --- | --- | --- | --- | --- |
| Section A(C301.1) |  |  |  |  |
| 1 | Introduction, Review of Three-phase systems | Methodology: Use visual aids (phasor diagrams, animations), real-world analogies (e.g., power distribution in homes). Pedagogy: Constructivist approach—build on students' prior knowledge of single-phase systems. | Student Learning: Understand the need for three-phase systems, advantages, and basic configurations (star/delta). |  |
| 2 | Analysis of simple three phase circuits | Methodology: Problem-solving sessions, circuit simulation tools (e.g., MATLAB/Simulink, Multisim). Pedagogy: Inquiry-based learning—students explore balanced vs. unbalanced loads. | Student Learning: Calculate line and phase voltages/currents, power in balanced/unbalanced systems. |  |
| 3 | Single-phase representation of balance three-phase network | Methodology: Use symmetry principles and simplification techniques. Pedagogy: Scaffolding—gradually introduce the concept of simplification. | Student Learning: Apply single-phase equivalent circuits to analyze three-phase systems. |  |
| 4 | The one-line diagram and the impedance or reactance diagram, | Methodology: Diagrammatic teaching, case studies of power systems. Pedagogy: Visual learning—students draw and interpret diagrams.. | Student Learning: Represent complex systems simply, understand system layout and components. |  |
| 5 | Per unit (PU) system, Complex power | Methodology: Numerical examples, unit conversion exercises. Pedagogy: Active learning—students convert actual values to PU and vice versa. Methodology: Vector representation, phasor algebra. Pedagogy: Conceptual learning—link real, reactive, and apparent power. | Student Learning: Normalize system parameters, simplify calculations. Student Learning: Calculate and interpret complex power in AC circuits. |  |
| 6 | The steady state model of synchronous machine | Methodology: Use equivalent circuits, machine modeling. Pedagogy: Model-based learning—students simulate machine behavior. | Student Learning: Understand machine operation under steady-state, derive voltage equations. |  |
| 7 | Transmission of electric power, Representation of loads. | Methodology: Real-world examples, grid models. Pedagogy: Contextual learning—relate to national grid and renewable integration. Methodology: Load modeling (constant power, impedance, current). Pedagogy: Analytical learning—students analyze load impact on system performance. | Student Learning: Understand transmission efficiency, losses, and voltage regulation. Student Learning: Model and analyze different types of electrical loads. |  |
| Section B(C301.2) |  |  |  |  |
| 7 | Method of Symmetrical Components (positive, negative and zero sequences) | Methodology: Use phasor diagrams, matrix transformations, and real-world fault scenarios. Pedagogy: Conceptual and visual learning—students decompose unbalanced systems into symmetrical components. | . Student Learning: Understand sequence components and their role in fault analysis and system stability. |  |
| 8 | Balanced faults | Methodology: Analytical problem-solving, use of fault simulation software. Pedagogy: Direct instruction followed by guided practice. | Student Learning: Analyze symmetrical faults using Thevenin equivalents and calculate fault currents. |  |
| 9 | Unbalanced Faults | Methodology: Case-based learning with real fault data, use of symmetrical components. Pedagogy: Problem-based learning—students solve LLG, LG, and LL faults. | Student Learning: Apply sequence networks to compute fault currents and voltages in unbalanced conditions. |  |
| 10 | Representation of generators in sequence networks | Methodology: Use equivalent circuit models and sequence impedance data. Pedagogy: Model-based learning—students build sequence networks. | Student Learning: Represent generators using positive, negative, and zero sequence impedances. |  |
| 11 | lines and transformers in sequence networks | Methodology: Diagrammatic teaching, transformer connection impact analysis. Pedagogy: Comparative learning—students analyze different transformer configurations. | Student Learning: Understand how transformer winding affects zero-sequence networks and fault analysis. |  |
| 12 | Computation of Fault Currents | Methodology: Step-by-step numerical problem solving, software tools like ETAP or PSCAD. | Student Learning: Calculate fault currents using sequence networks and |  |
| 13 | Neutral Grounding | Methodology: Use grounding system models, safety case studies. Pedagogy: Contextual learning—students explore grounding methods (solid, resistance, reactance, etc.). | Student Learning: Understand the role of grounding in fault current limitation and system protection. |  |
| Section C(C301.3) |  |  |  |  |
| 14 | Types of Circuit Breakers. | Methodology: Use cutaway diagrams, videos of actual breaker operations, and lab demonstrations. Pedagogy: Experiential learning—students observe and compare different types (air, oil, SF₆, vacuum). | . Student Learning: Understand operating principles, applications, and advantages/disadvantages of each type. |  |
| 15 | Attributes of Protection schemes | Methodology: Use tabular comparisons and system reliability case studies. Pedagogy: Analytical learning—students evaluate attributes like selectivity, sensitivity, speed, reliability. | Student Learning: Identify key performance indicators of protection systems and their impact on grid stability. |  |
| 16 | Back-up Protection | . Methodology: Fault tree analysis, simulation of primary and backup protection failure. Pedagogy: Scenario-based learning—students analyze cascading failures and backup activation. | . Student Learning: Understand the necessity of backup protection and its coordination with primary systems. |  |
| 17 | Protection schemes (Over-current, directional, distance protection, differential protection) and their application | Over-current Protection Methodology: Use time-current characteristic curves and relay coordination exercises. Pedagogy: Problem-solving—students design and coordinate over-current relays. | Student Learning: Apply over-current protection in radial systems and understand grading. |  |
| 18 | Protection schemes (Over-current, directional, distance protection, differential protection) and their application | . Directional Protection Methodology: Use phasor diagrams and relay logic. Pedagogy: Conceptual learning—students explore power flow direction and relay response. | . Student Learning: Understand how directional relays prevent false tripping in interconnected systems. |  |
| 19 | Protection schemes (Over-current, directional, distance protection, differential protection) and their application | Distance Protection Methodology: Use impedance plane diagrams and fault location simulations. Pedagogy: Visual and analytical learning—students interpret relay zones and reach. | Student Learning: Apply distance protection in transmission lines and understand zone coordination. . |  |
| 20 | Protection schemes (Over-current, directional, distance protection, differential protection) and their application | Differential Protection Methodology: Use current transformer models and fault detection logic. Pedagogy: Model-based learning—students simulate differential protection for transformers and generators. Methodology: Case studies of real-world faults and protection responses. Pedagogy: Integrated learning—students map protection schemes to system components. | Student Learning: Understand how differential protection detects internal faults and avoids external fault tripping. Student Learning: Select appropriate protection schemes for generators, transformers, transmission lines, and feeders. |  |
| Section D(C301.4) |  |  |  |  |
| 21 | Line-Commutated Converters (LCC) and Voltage Source Converters (VSC). | Methodology: Use converter circuit diagrams, waveform analysis, and simulation tools (e.g., PSCAD, MATLAB). Pedagogy: Comparative learning—students analyze differences in control, harmonics, and reactive power. | Student Learning: Understand the operating principles, advantages, and limitations of LCC and VSC. |  |
| 22 | LCC and VSC based dc link | Methodology: Case studies of HVDC projects (e.g., India’s Champa-Kurukshetra link). Pedagogy: Application-based learning—students explore real-world implementations. | Student Learning: Analyze system configurations, control strategies, and fault handling in DC links. |  |
| 23 | Real Power Flow control in a dc link | Methodology: Use control block diagrams and power flow simulations. Pedagogy: Systems thinking—students understand control loops and feedback mechanisms. | Student Learning: Learn how power is regulated in DC links using converter control. |  |
| 24 | Comparison of ac and dc transmission. | Methodology: Tabular analysis, cost-benefit studies, and efficiency comparisons. Pedagogy: Critical thinking—students evaluate scenarios for AC vs. DC preference. | . Student Learning: Understand technical, economic, and environmental factors influencing transmission choic |  |
| 25 | I-V and P-V characteristics of PV panels | Methodology: Lab experiments with solar panels, plotting I-V and P-V curves. Pedagogy: Inquiry-based learning—students observe effects of irradiance and temperature. | . Student Learning: Analyze performance characteristics and maximum power point tracking (MPPT). |  |
| 26 | . power electronic interface of PV to the grid. | Methodology: Use inverter models, grid synchronization techniques. Pedagogy: Model-based learning—students simulate grid-connected PV systems. | Student Learning: Understand inverter control, anti-islanding protection, and grid codes. . |  |
| 27 | Wind Energy Systems: Power curve of wind turbine. | Power Curve of Wind Turbine Methodology: Use manufacturer data sheets and performance graphs. Pedagogy: Data-driven learning—students interpret power output vs. wind speed. | Student Learning: Understand cut-in, rated, and cut-out speeds and turbine efficiency. |  |
| 28 | Wind Energy Systems: Power curve of wind turbine. | Power Curve of Wind Turbine Methodology: Use manufacturer data sheets and performance graphs. Pedagogy: Data-driven learning—students interpret power output vs. wind speed. | Student Learning: Understand cut-in, rated, and cut-out speeds and turbine efficiency. |  |
| 29 | Fixed and variable speed turbines Permanent Magnetic Synchronous Generators and Induction Generators | Methodology: Comparative analysis using control strategies and mechanical models. Pedagogy: Conceptual learning—students explore pitch and torque control. Concept Delivery Use visual aids: Diagrams of rotor/stator configurations, magnetic field interactions, torque-speed curves. Simulation tools: MATLAB/Simulink, PSCAD for dynamic modeling and performance analysis. Comparative Analysis Present side-by-side comparisons of PMSG vs. Induction Generators in terms of: Efficiency Control complexity Grid integration Suitability for variable-speed applications Pedagogical Approaches 1. Constructivist Learning Build on students’ prior knowledge of synchronous and induction machines. Use real-world applications (e.g., wind turbines, hydro plants) to contextualize learning. | . Student Learning: Evaluate pros and cons of each type in terms of grid integration and energy capture. Student Learning Outcomes ✅ For PMSG Understand the role of permanent magnets in excitation. Analyze torque-speed characteristics and control strategies. Evaluate advantages in renewable energy systems (e.g., high efficiency, low maintenance). ✅ For Induction Generators Understand self-excitation and reactive power requirements. Analyze slip and its impact on power generation. Evaluate suitability for small hydro and wind systems. |  |
| 30,31,32 | Fixed and variable speed turbines Permanent Magnetic Synchronous Generators and Induction Generators | Methodology: Comparative analysis using control strategies and mechanical models. Pedagogy: Conceptual learning—students explore pitch and torque control. Concept Delivery Use visual aids: Diagrams of rotor/stator configurations, magnetic field interactions, torque-speed curves. Simulation tools: MATLAB/Simulink, PSCAD for dynamic modeling and performance analysis. Comparative Analysis Present side-by-side comparisons of PMSG vs. Induction Generators in terms of: Efficiency Control complexity Grid integration Suitability for variable-speed applications Pedagogical Approaches 1. Constructivist Learning Build on students’ prior knowledge of synchronous and induction machines. Use real-world applications (e.g., wind turbines, hydro plants) to contextualize learning. | . Student Learning: Evaluate pros and cons of each type in terms of grid integration and energy capture. Student Learning Outcomes ✅ For PMSG Understand the role of permanent magnets in excitation. Analyze torque-speed characteristics and control strategies. Evaluate advantages in renewable energy systems (e.g., high efficiency, low maintenance). ✅ For Induction Generators Understand self-excitation and reactive power requirements. Analyze slip and its impact on power generation. Evaluate suitability for small hydro and wind systems. |  |

Text/References:

1. J. Grainger and W. D. Stevenson, “Power System Analysis”, McGraw Hill Education, 1994.
2. O. I. Elgerd, “Electric Energy Systems Theory”, McGraw Hill Education, 1995.
3. A. R. Bergen and V. Vittal, “Power System Analysis”, Pearson Education Inc., 1999. 4. D. P. Kothari and I. J. Nagrath, “Modern Power System Analysis”, McGraw Hill

Education, 2003.
5. B. M. Weedy, B. J. Cory, N. Jenkins, J. Ekanayake and G. Strbac, “Electric Power

Systems”, Wiley, 2012
6. EHV-AC/DC Transmission System ;S.Rao : Khanna Pub.
7. C.L Wadhwa, “ Electrical Power system” new age publication.
8. Power System Protection & Switchgear By B. Ram, McGraw Hill
9. https://nptel.ac.in/courses/108/106/108106160/ by Prof. Krishna S, IIT Madras. 10. https://nptel.ac.in/courses/117/105/117105140/ by Prof. D. Das, IIT, Khahargpur.

Course Outcomes:

At the end of the course, the student will be able to:

| C301.1 | Understand the various power system components. |
| --- | --- |
| C301.2 | Evaluate fault currents for different types of faults. |
| C301.3 | Understand basic protection schemes and circuit breakers. |
| C301.4 | Understand concepts of HVDC power transmission and renewable energy generation. |

CO-PO-PSO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 | PSO3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C301.1 | 1 | 2 | 1 | 1 | 1 | 2 | 1 | - | 1 | 2 | 1 | 1 | 2 | 1 | 2 |
| C301.2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 2 | 2 | 1 | 2 | 2 | 2 | 1 |
| C301.3 | 1 | 2 | 1 | 2 | 1 | 2 | 2 | - | 2 | 2 | 2 | 2 | 2 | 1 | 2 |
| C301.4 | 2 | 2 | 2 | 1 | 1 | 2 | 2 | - | 2 | 2 | 2 | 2 | 2 | 2 | 1 |