| No. of Lecture Hours/Week | 3+1 | Exam Hours | 3 |
| --- | --- | --- | --- |
| Total No. of Lecture Hours | 32 | Exam Marks | 75 |
| Course Code: | PEC-EE-415G |  |  |

Course Objectives:

- To understand the design fundamental concepts, design main dimensions and main dimensions of rotating machine.

- To analyze basic design procedure of machines .

- To analyze the design and performance of Transformer, Induction machine and synchronous machine

- To understand Optimization techniques and their applications to design Problems.

| Lecture No. | Topics to be Covered | Teaching Methodology/Pedagogy | Activity | Remarks |
| --- | --- | --- | --- | --- |
| Section A (C.402.3.1) |  |  |  |  |
| 1 | Section-A EHV AC Transmission: Need of EHV transmission, standard transmission voltage, features of EHV Transmission lines | Lecture-Based Instruction:Use clear, structured presentations to explain concepts like need of EHV transmission ,standard transmission voltages. Problem-Based Learning (PBL):Present real-world challenges (e.g., designing an EHV line for a specific terrain).Encourage students to work in teams to propose solutions, fostering critical thinking. Industry Interaction:Invite guest lectures from power engineers.Organize field visits to substations or transmission line sites. Pedagogy: Build on students’ prior knowledge of power systems.Use concept maps to connect EHV transmission with broader electrical engineering topics. | Understand the Need for EHV Transmission: Explain why higher voltages are used for long-distance power transfer. Identify Standard Transmission Voltages: Recognize typical EHV levels (e.g., 400 kV, 765 kV) and their applications. |  |
| 2 | electrical and mechanical considerations of EHV lines, | Use clear, structured presentations to explain concepts mechanical considerations, and standard transmission voltages. Encourage students to work in teams to propose solutions, fostering critical thinking. Industry Interaction: . Pedagogy: Build on students’ prior knowledge of power systems. Use concept maps to connect EHV transmission with broader electrical engineering topics. | Analyze Electrical & Mechanical Considerations: Evaluate conductor selection, insulation, tower design, and line sag. |  |
| 3 | electrical and mechanical considerations of EHV lines, | Use clear, structured presentations to explain concepts mechanical considerations, and standard transmission voltages. Encourage students to work in teams to propose solutions, fostering critical thinking. Industry Interaction: . Pedagogy: Build on students’ prior knowledge of power systems. Use concept maps to connect EHV transmission with broader electrical engineering topics. | Analyze Electrical & Mechanical Considerations: Evaluate conductor selection, insulation, tower design, and line sag. |  |
| 4 | surface voltage gradients in conductor, , | Use clear, structured presentations to explain concepts like voltage gradients. Pedagogy: Build on students’ prior knowledge of power systems. Use concept maps to connect EHV transmission with broader electrical engineering topics. | Calculate Surface Voltage Gradients: Use formulas to determine electric field intensity around conductors. |  |
| 5 | distribution of voltage gradients on sub conductors | Incorporate diagrams and animations to visualize electric field distributions and line configurations . Encourage students to work in teams to propose solutions, fostering critical thinking. Industry Interaction: Invite guest lectures from power engineers. Organize field visits to substations or transmission line sites. Pedagogy: Build on students’ prior knowledge of power systems. Use concept maps to connect EHV transmission with broader electrical engineering topics. | Understand Voltage Gradient Distribution: Explain how bundling affects voltage distribution and corona loss. |  |
| 6 | distribution of voltage gradients on sub conductors | Incorporate diagrams and animations to visualize electric field distributions and line configurations . Encourage students to work in teams to propose solutions, fostering critical thinking. Industry Interaction: Invite guest lectures from power engineers. Organize field visits to substations or transmission line sites. Pedagogy: Build on students’ prior knowledge of power systems. Use concept maps to connect EHV transmission with broader electrical engineering topics. | Understand Voltage Gradient Distribution: Explain how bundling affects voltage distribution and corona loss. |  |
| Section B (C.402.3.2) |  |  |  |  |
| 7 | Section-B HVDC Transmission: DC links | Use structured lectures to introduce: Types of DC links (monopolar, bipolar, back-to-back, multi-terminal) Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Identify and differentiate between various HVDC link types |  |
| 8 | HVDC Transmission: DC links | Use structured lectures to introduce: Types of DC links (monopolar, bipolar, back-to-back, multi-terminal) Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Identify and differentiate between various HVDC link types |  |
| 9 | components and configurations | Use structured lectures to introduce: Control strategies and power flow mechanisms Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | - Describe the function of each component in an HVDC system |  |
| 10 | components and configurations | Use structured lectures to introduce: Control strategies and power flow mechanisms Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” |  |  |
| 11 | converter station operation and controls of converters | Use structured lectures to introduce: Converter station components (valves, transformers, filters, etc.) Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Explain the layout and operation of converter stations |  |
| 12 | converter station operation and controls of converters | Use structured lectures to introduce: Converter station components (valves, transformers, filters, etc.) Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Explain the layout and operation of converter stations |  |
| 13 | characteristics, power control, starting and stopping of dclink. | Use structured lectures to introduce: Converter characteristics. Power control mechanisms. Start/stop sequences of DC links Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Analyze converter characteristics and control strategies. Describe the sequence and safety considerations in starting/stopping HVDC links |  |
| 14 | characteristics, power control, starting and stopping of dclink. | Use structured lectures to introduce: Converter characteristics. Power control mechanisms. Start/stop sequences of DC links Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Analyze converter characteristics and control strategies. Describe the sequence and safety considerations in starting/stopping HVDC links |  |
| 15 | characteristics, power control, starting and stopping of dclink. | Use structured lectures to introduce: Converter characteristics. Power control mechanisms. Start/stop sequences of DC links Pedagogy Build on students’ prior knowledge of AC systems Use analogies (e.g., water flow for current control) to explain converter operations Use class time for discussions, problem-solving, and simulations Group discussions on topics like: “Why HVDC for long-distance transmission?” “Challenges in multi-terminal HVDC systems” | Analyze converter characteristics and control strategies. Describe the sequence and safety considerations in starting/stopping HVDC links |  |
| 16 | Recap | Revision and Learning: Test understanding through application-based questions. | Revise all topics covered so far. |  |
| Section C (C.402.3.3) |  |  |  |  |
| 17 | Flexible AC Transmission Systems: Fundamentals of ac power transmission, transmission problems and needs, | Introduce key topics: Fundamentals of AC power transmission Transmission challenges (e.g., voltage instability, congestion). Pedagogy Begin with basic transmission concepts | AC Power Transmission Fundamentals: Explain the principles of AC power transmission and its limitations. Identify key challenges in power transmission and the need for flexible solutions |  |
| 18 | Flexible AC Transmission Systems: Fundamentals of ac power transmission, transmission problems and needs, | Introduce key topics: Fundamentals of AC power transmission Transmission challenges (e.g., voltage instability, congestion). Pedagogy Begin with basic transmission concepts | AC Power Transmission Fundamentals: Explain the principles of AC power transmission and its limitations. Identify key challenges in power transmission and the need for flexible solutions |  |
| 19 | Mechanism of active and reactive power flow control, | . Active and reactive power flow control. Use visual aids like phasor diagrams and system models. Pedagogy introduce FACTS devices and their control mechanisms. | Describe how active and reactive power flow is controlled in AC systems |  |
| 20 | Mechanism of active and reactive power flow control, | Active and reactive power flow control. Use visual aids like phasor diagrams and system models. | Describe how active and reactive power flow is controlled in AC systems |  |
| 21 | basic FACTS controllers with application and principles of operation. | Basic FACTS controllers (SVC, TCSC, STATCOM, UPFC).Use visual aids like phasor diagrams and system models. | . Understand the operation and application of basic FACTS devices (SVC, TCSC, STATCOM, UPFC) |  |
| 22 | basic FACTS controllers with application and principles of operation. | Basic FACTS controllers (SVC, TCSC, STATCOM, UPFC). Use visual aids like phasor diagrams and system models. | . Analyze how FACTS improve system stability, reduce losses, and enhance power quality |  |
| 23 | basic FACTS controllers with application and principles of operation. | Basic FACTS controllers (SVC, TCSC, STATCOM, UPFC). Use visual aids like phasor diagrams and system models. | . Analyze how FACTS improve system stability, reduce losses, and enhance power quality |  |
| 24 | basic FACTS controllers with application and principles of operation. | Basic FACTS controllers (SVC, TCSC, STATCOM, UPFC). Use visual aids like phasor diagrams and system models. | . Analyze how FACTS improve system stability, reduce losses, and enhance power quality |  |
| Section D (C.402.3.4) |  |  |  |  |
| 25 | Power Quality: Overview and definition of power quality, | Definition and importance of power quality Pedagogy: Build on students’ prior knowledge of electrical systems and signal analysis. Use concept maps to connect different types of disturbances and their causes. | Define power quality and explain its significance in electrical systems |  |
| 26 | Power Quality: Overview and definition of power quality, | Definition and importance of power quality Pedagogy: Build on students’ prior knowledge of electrical systems and signal analysis. Use concept maps to connect different types of disturbances and their causes. | Define power quality and explain its significance in electrical systems |  |
| 27 | , power quality Sources of pollution disturbances, voltage fluctuations, unbalance waveform distortion, | Sources of power pollution (non-linear loads, switching devices, etc.) Types of disturbances (voltage fluctuations, waveform distortion, etc.) Pedagogy: Share pre-class materials on types of power quality issues and measurement techniques. Use class time for hands-on analysis and group discussions. | . Identify common sources of power quality disturbances. Describe and differentiate between voltage fluctuations, waveform distortion, and frequency variations |  |
| 28 | power quality Sources of pollution disturbances, voltage fluctuations, unbalance waveform distortion, | Sources of power pollution (non-linear loads, switching devices, etc.) Types of disturbances (voltage fluctuations, waveform distortion, etc.) Pedagogy: Group activities to analyze power quality data and suggest improvements. Peer reviews of proposed mitigation strategies. | Identify common sources of power quality disturbances. Describe and differentiate between voltage fluctuations, waveform distortion, and frequency variations |  |
| 29 | power frequency variations, mitigation and control of power quality issues. | Demonstrate how mitigation devices (filters, compensators) work. | Analyze power quality data and identify specific issues. Propose and evaluate methods to control and improve power quality (e.g., filters, compensators) |  |
| 30 | power frequency variations, mitigation and control of power quality issues. | Demonstrate how mitigation devices (filters, compensators) work. | . Analyze power quality data and identify specific issues. Propose and evaluate methods to control and improve power quality (e.g., filters, compensators). Understand the impact of poor power quality on equipment, efficiency, and safety |  |
| 30 | Content Beyond Syllabus |  |  |  |
| 31,32 | Revision |  | Revise previous year question paper |  |

Text / References

Rakesh Das Begmudre, Extra High Voltage AC Transmission Engineering, Wiley Estern Limited. 2. K.R. Padiyar, HVDC Power Transmission System, Wiley Estern Limited.
3. E.W. Kimbark. EHV-AC and HVDC Transmission Engineering & Practice, KhannaPublishers.
4. Math H. J. Bollen, Understanding Power Quality Problems: Voltage Sagsand Interruptions, Wiley-IEEE Press.
5. Flexible Ac Transmission Systems, Yong-Hua Song, Allan T. Johns, IEEpublication

6. Understanding FACTS: Concepts and Technology of Flexible AC Transmission Systems, Narain G. Hingorani, LaszloGyugyi.

and M. S. Kamath, “Basic Circuit Analysis”, Jaico Publishers, 1999.

Course Outcomes:

At the end of this course, students will demonstrate the ability to

Course Outcomes:

At the end of the course, the student will be able to:

| C402.3.1 | Discuss Modelling of the transmission line parameter |
| --- | --- |
| C402.3.2 | To deal with the importance of HVDC Transmission and HVDC Converters |
| C402.3.3 | Understand modern power controllers to enhance the stability and capability of existing network |
| C402.3.4 | Analyze the monitoring and improvement of Power Quality |

CO-PO-PSO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 | PSO3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C402.3.1 | 2 | 2 | 2 | 1 | 1 | 2 | 1 | - | 1 | 2 | 1 | 1 | 2 | 1 | 2 |
| C402.3.2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 2 | 2 | 1 | 2 | 2 | 2 | 1 |
| C402.3.3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 2 | 2 | 2 | 2 | 2 | 1 | 2 |
| C402.3.4 | 2 | 2 | 2 | 1 | 1 | 2 | 2 | - | 2 | 2 | 2 | 2 | 2 | 2 | 1 |