|  | DPG Institute of Technology and Management ###### Sector 34, Gurugram HR 122004 |
| --- | --- |
|  | Lesson Plan |
|  | Course Name: Renewable Energy and Distributed Generation |
|  | Faculty Name: Satish Chandra |

| No. of Lecture Hours/Week | 3 | Exam Hours | 3 |
| --- | --- | --- | --- |
| Total No. of Lecture Hours | 34 | Exam Marks | 75 |
| Course Code: | OEC-EE-403G |  |  |

Course Objectives: To impart knowledge on the following Topics:

  - To learn various renewable energy sources

  - To gain understanding of integrated operation of renewable energy sources.

  - To understand Power Electronics Interface with the Grid

| Lecture No | Topics to be covered | Teaching Methodology / Pedagogy | Activity | Remarks |
| --- | --- | --- | --- | --- |
| SECTION A(Unit-1)(CO 403.2.1) |  |  |  |  |
| 1 | Introduction to Distributed Generation – concept and importance. | Chalk &Talk |  |  |
| 2 | Comparison between distributed and central station generation. | Chalk &Talk |  |  |
| 3 | Advantages and limitations of distributed generation. | Chalk &Talk |  |  |
| 4 | Overview of energy sources for distributed generation. | Chalk &Talk |  |  |
| 5 | Micro-turbines – construction, working principle and applications. | Chalk &Talk |  |  |
| 6 | Internal combustion engines – operation and use in DG systems. | Chalk &Talk |  |  |
| 7 | Performance and emission characteristics of micro-turbine and IC engine-based DG. | Chalk &Talk |  |  |
| SECTION B(Unit-2)(CO 403.2.2) |  |  |  |  |
| 8 | Introduction to solar energy and solar photovoltaic systems. | Chalk &Talk |  |  |
| 9 | Solar thermal systems and applications in distributed generation. | Chalk &Talk |  |  |
| 10 | Wind energy – basic principles, types of turbines and components. | Chalk &Talk |  |  |
| 11 | Characteristics and control of wind energy systems. | Chalk &Talk |  |  |
| 12 | Combined heat and power (CHP) – concept, advantages and applications. | Chalk &Talk |  |  |
| 13 | Hydro energy – small hydro systems and their integration in DG. | Chalk &Talk |  |  |
| 14 | Tidal energy – principle, types and challenges in power generation. | Chalk &Talk |  |  |
| 15 | Wave energy – conversion techniques and applications. | Chalk &Talk |  |  |
| 16 | Geothermal energy – sources, extraction methods and utilization. | Chalk &Talk |  |  |
| 17 | Biomass energy – conversion processes and system configurations. | Chalk &Talk |  |  |
| 18 | Fuel cells – principle, types and role in distributed generation. | Chalk &Talk |  |  |
| 19 | Overview of hybrid distributed energy systems. | Chalk &Talk |  |  |
| SECTION (Unit-3)(CO 403.2.3) |  |  |  |  |
| 20 | Power electronic interfaces – role and need in DG systems. | Chalk &Talk |  |  |
| 21 | Power electronic converters used in distributed generation. | Chalk &Talk |  |  |
| 22 | Grid connection of DG sources – control and synchronization. | Chalk &Talk |  |  |
| 23 | Impact of distributed generation on power system operation. | Chalk &Talk |  |  |
| 24 | Power flow and voltage regulation issues with DG integration. | Chalk &Talk |  |  |
| 25 | Power quality disturbances caused by distributed generation. | Chalk &Talk |  |  |
| 26 | Mitigation of power quality issues and standards. | Chalk &Talk |  |  |
| SECTION D(Unit-4)(CO 403.2.3) |  |  |  |  |
| 27 | Transmission system operation with distributed generation. | Chalk &Talk |  |  |
| 28 | Protection schemes for distributed generators. | Chalk &Talk |  |  |
| 29 | Islanding and anti-islanding protection methods. | Chalk &Talk |  |  |
| 30 | Coordination of protection between DG and utility systems. | Chalk &Talk |  |  |
| 31 | Economic aspects of distributed generation – cost and benefits. | Chalk &Talk |  |  |
| 32 | Tariff structures and incentives for distributed generation. | Chalk &Talk |  |  |
| 33 | Environmental and regulatory aspects of distributed generation. | Chalk &Talk |  |  |
| 34 | Future trends and case studies in distributed generation. | Chalk &Talk |  |  |

Suggested Text / Reference Books

Text Books:

- RanjanRakesh, Kothari D.P, Singal K.C, “Renewable Energy Sources and Emerging Technologies”,2nd Ed. Prentice Hall of India,2011

- Math H.Bollen, Fainan Hassan, “Integration of Distributed Generation in the Power System”, July2011,Wiley –IEEE Press

Reference Books

- Loi Lei Lai, Tze Fun Chan, “Distributed Generation: Induction and Permanent Magnet Generators”, October 2007, Wiley-IEEE Press.

2. RogerA.Messenger, Jerry Ventre, “Photovoltaic System Engineering”, 3rd Ed, 2010, JamesF.Manwell,

3. Jon G.McGowan, Anthony L Rogers, “Wind energy explained: Theory Design and Application”, John Wiley and Sons 2nd Ed,2010

Course Outcomes:

At the end of the course, the student will be able:

| CO403.2.1 | Understand about renewable energy. |
| --- | --- |
| CO403.2.2 | Understand the working of distributed generation system in autonomous/grid connected modes. |
| CO403.2.3 | Know the Impact of Distributed Generation on Power System. |

CO-PO-PSO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 | PSO3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO403.2.1 | 2 | 2 | 1 | 2 | 1 | 2 | 2 | - | 1 | 1 | 2 | 1 | 2 | 1 | 2 |
| CO403.2.2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | - | 2 | 2 | 1 | 2 | 1 | 2 | 1 |
| CO403.2.3 | 2 | 1 | 2 | 1 | 1 | 1 | 2 | - | 1 | 2 | 1 | 1 | 2 | 1 | 2 |

| Signature of Staff In-charge | Signature of HOD |
| --- | --- |