|  | DPG Institute of Technology and Management ###### Sector 34, Gurugram HR 122004 |
| --- | --- |
|  | Lesson Plan |
|  | Course Name: Refrigeration and Air Conditioning |
|  | Faculty Name: Abhi Bansal |

| No. of Lecture Hours/Week | 3 | Exam Hours | 3 |
| --- | --- | --- | --- |
| Total No. of Lecture Hours | 3 | Exam Marks | 75 |
| Course Code: PEC-ME-401G |  |  |  |

Course Objectives:

- To familiarize with the terminology associated with refrigeration systems and air conditioning

- To understand basic refrigeration processes

- To understand the basics of psychrometry and practice of applied psychometrics.

- To acquire the skills required to model, analyse and design different refrigeration as well as air conditioning processes and components

| LectureNo | Topics to be covered | Teaching Methodology | Activity | Remark |
| --- | --- | --- | --- | --- |
| Unit I - Introduction and Air Refrigeration system (C401.1.1) |  |  |  |  |
| 1 | Definition of refrigeration & air conditioning; Necessity; Methods of refrigeration; Unit of refrigeration; | Chalk &Talk | Discussion |  |
| 2 | Coefficient of performance (COP), Fundamentals of air-conditioning system; | Chalk &Talk | Discussion |  |
| 3 | Carnot refrigeration cycle. Temperature. Limitations | Chalk &Talk | Discussion |  |
| 4 | Brayton refrigeration or the Bell Coleman air refrigeration cycle | Chalk &Talk | Discussion |  |
| 5 | Necessity of cooling the aero plane; Air craft refrigeration systems, Simple cooling | PPT | Digital Class |  |
| 6 | Simple evaporative types, Boot strap | PPT | Digital Class |  |
| 7 | Boot strap evaporative types, Regenerative type | PPT | Digital Class |  |
| 8 | Reduced Ambient type system, Comparison of different systems, problems. | PPT | Digital Class |  |
| 9 | Numericals problem | Chalk &Talk | Tutorial, Q & A |  |
| 10 | Refrigerants-Definition, Classification, Nomenclature, Desirable properties | Chalk &Talk | Discussion |  |
| 11 | secondary refrigerants, Introduction to eco-friendly Refrigerants; Introduction to Cryogenics | Chalk &Talk | Discussion |  |
| Unit II-Vapour Compression (VC) Refrigeration Systems (C401.1.2) |  |  |  |  |
| 12 | Simple Vapour Compression (VC) Refrigeration systems | Chalk &Talk | Demonstration |  |
| 13 | Reversed Carnot cycle | Chalk &Talk | Discussion |  |
| 14 | Analysis of VC cycle considering degrees of sub cooling and superheating; VC cycle on p-v, t-s and p-h diagrams; | Chalk &Talk | Discussion |  |
| 15 | Effects of operating conditions on COP; Comparison of VC cycle with Air Refrigeration cycle. | Chalk &Talk | Discussion |  |
| 16 | Numericals Problem on VCRS system | Chalk &Talk | Tutorial, Q & A |  |
| 17 | Necessity of compound compression, Compound VC cycle | Chalk &Talk | Discussion |  |
| 18 | Multistage compression with flash inter-cooling and / or water inter-cooling; systems | Chalk &Talk | Discussion |  |
| 19 | Numericals Problem | Chalk &Talk | Tutorial, Q & A |  |
| 20 | Vapour Absorption Refrigeration Systems – Basic Systems, Actual COP of the System | Chalk &Talk | Demonstration |  |
| 21 | Relative merits and demerits; Properties of aqua ammonia; Electrolux Refrigeration; | Chalk &Talk | Discussion |  |
| 22 | Steam Jet Refrigerating System- | PPT | Explanation |  |
| Unit III- Psychrometry and Air Conditioning (C401.1.3) |  |  |  |  |
| 23 | Psychrometry of Air & Air Conditioning Processes: Properties of moist Air-Gibbs Dalton law, Specific humidity, Dew point temperature, Degree of saturation, Relative humidity, Enthalpy, Humid specific heat, Wet bulb temp. | Chalk &Talk | Discussion |  |
| 24 | Psychrometry Relations | Chalk &Talk | Discussion |  |
| 25 | Psychrometric chart; | Chalk &Talk | Discussion |  |
| 26 | Psychrometry of air-conditioning processes | Chalk &Talk | Discussion |  |
| 27 | Air- Conditioning Load Calculations: Outside and inside design conditions | NPTEL | Numericals |  |
| 28 | Numericals Problem | Chalk &Talk | Tutorial, Q & A |  |
| 29 | Comfort chart, Problems. | Chalk &Talk | Expert Lecturer |  |
| Unit IV- Refrigeration and Air Conditioning Equipments: (C401.1.4) |  |  |  |  |
| 30 | Air Conditioning Systems with Controls & Accessories: | Chalk &Talk | Demonstration |  |
| 31 | Layout of plants; Equipment selection; Air distribution system; Duct systems Design; Filters; Refrigerant piping; | Chalk &Talk | Demonstration |  |
| 32 | Design of summer air-conditioning and Winter air conditioning systems | PPT | Design Problems |  |
| 33 | Type of compressors and their performance curves | PPT | Explanation with Video |  |
| 34 | Types of Condensers, Heat transfer in condensers; | PPT | Explanation with Video |  |
| 35 | Types of expansion devices | PPT | Explanation with Video |  |
| 36 | Types of evaporators, Cooling and Dehumidifying coils, | PPT | Explanation with Video |  |

Suggested Text / Reference Books

1. A course in Refrigeration & Air Conditioning – Arora & Domkundwar, Dhanpat Rai & Sons.

2. Refrigeration & Air conditioning –W.F. Stocker and J.W. Jones, TMH, New Delhi.

3. Refrigeration & Air conditioning- Manohar Prasad Wiley Estern limited, New Delhi

Course Outcomes:

At the end of the course, the student will be able:

| CO 1 | Understand the air refrigeration, vapour compression refrigeration, vapour absorption, steam jet refrigeration systems and different type of refrigerants. |
| --- | --- |
| CO 2 | Expedite the working of single stage, multistage and cascade refrigeration. |
| CO 3 | Knowledge of psychrometry and different psychrometric processes. Understand and evaluate cooling and heating load and design of HVAC system. |
| CO 4 | Develop and design RAC systems and evaluate different expansion and control devices |

CO-PO-PSO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 | PSO3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CO2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CO3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CO4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Signature of Staff In-charge | Signature of HOD |
| --- | --- |